## Form 100-277(a) Rev. A
Incubator S/N:
Incubator Brand: | VWR |  | Lab Temperature (°C):
Incubator Model: |  |  | Lab Relative Humidity (%):
GEX Part No.: | P4850
Calibration Verification | Set Point Temp. (°C) | Displayed Temp (°C) | Acceptance Criteria (±) (°C) | Minimum Limit (°C) | Measured Temp (°C) | Maximum Limit (°C) | Result
|  |  | 0.5 | -0.5 |  | 0.5 | FAIL
Performance Verification | Empty Chamber |  |  |  | Loaded Chamber
| Position | Measured (°C) |  |  | Position | Measured (°C)
| 1 |  |  |  | 1
| 2 |  |  |  | 2
Acceptance Criteria: Overall Min >= 58.0°C Overall Max <= 62.0°C Range <= 1.0°C | 3 |  |  |  | 3
| 4 |  |  |  | 4
| 5 |  |  |  | 5
| 6 |  |  |  | 6
| 7 |  |  |  | 7
| 8 |  |  |  | 8
| 9 |  |  |  | 9
| 10 |  |  |  | 10
| Minimum: | 0 | FAIL |  | Minimum: | 0 | FAIL
| Maximum: | 0 | FAIL |  | Maximum: | 0 | FAIL
| Range: | 0 | FAIL |  | Range: | 0 | FAIL
Performed By:____________________________Date:__________________ |  |  |  | Reviewed By:____________________________Date:_______________
ENTER NAME - Q.A. Technician |  |  |  | ENTER NAME - Q.A. Technician

## Form 100-277(b) Rev. A
Incubator S/N:
Incubator Brand: | Scigene |  | Lab Temperature (°C):
Incubator Model: |  |  | Lab Relative Humidity (%):
GEX Part No.: | P4900
Calibration Verification | Set Point Temp. (°C) | Displayed Temp (°C) | Acceptance Criteria (±) (°C) | Minimum Limit (°C) | Measured Temp (°C) | Maximum Limit (°C) | Result
|  |  | 0.2 | -0.2 |  | 0.2 | FAIL
Performance Verification | Empty Heat Block |  |  |  | Loaded Heat Block
| Position | Measured (°C) |  |  | Position | Measured (°C)
| 1 |  |  |  | 1
| 2 |  |  |  | 2
Acceptance Criteria: Overall Min >= 58.0°C Overall Max <= 62.0°C Range <= 1.0°C | 3 |  |  |  | 3
| 4 |  |  |  | 4
| 5 |  |  |  | 5
| 6 |  |  |  | 6
| 7 |  |  |  | 7
| 8 |  |  |  | 8
| 9 |  |  |  | 9
| 10 |  |  |  | 10
| 11 |  |  |  | 11
| 12 |  |  |  | 12
| 13 |  |  |  | 13
| 14 |  |  |  | 14
| 15 |  |  |  | 15
| 16 |  |  |  | 16
| 17 |  |  |  | 17
| 18 |  |  |  | 18
| Minimum: | 0 | FAIL |  | Minimum: | 0 | FAIL
| Maximum: | 0 | FAIL |  | Maximum: | 0 | FAIL
| Range: | 0 | FAIL |  | Range: | 0 | FAIL
Performed By:____________________________Date:__________________ |  |  |  | Reviewed By:____________________________Date:_______________
ENTER NAME - Q.A. Technician |  |  |  | ENTER NAME - Q.A. Technician